Item 5: Smart Inverters 
IOU response to CALSEIA’s and IREC’s response to IOU response
ICA Workshop Group

In IOU’s response to stakeholder comments in regards to the Smart Inverter Implementation in the ICA calculations, IOUs offered three bullet points as steps forward to address stakeholder’s comments:
1. Perform more detail analysis to determine how the tools should be updated to perform an automated ICA process.
2. Work with modeling tool vendors to incorporate the required functions.
3. Update ICA with Smart Inverter ICA values when the volt/var functions has been incorporated in the modeling tools ICA modules.

CALSEIA and IREC do not view the need to perform additional analysis as outlined in bullet #1 and comment that “IOUs should simply be working with the software vendors to incorporate smart inverter functionality and use it in the ICA calculations”.  While the IOUs do not agree that additional studies are not necessary, the IOUs are in agreement to remove bullet #1 and perform “internal research and analysis as they roll out the ICA” as suggested by CALSEA and IREC.  

[bookmark: _GoBack]The IOUs do want to clarify that since the existing ICA tools do not have the automated functionality to incorporate the volt/var function in the ICA calculations, this function may not be ready for utilization as part of the first system wide rollout as required by Track I Decision. This function would be utilized on subsequent ICA updates when the tool has been updated with this functionality.
