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Summary of Recommendations
· The IOUs utilize a similar approach to gather data to create load shapes as in Demo A.
· Recommend utilizing the same methods, data sources and means to create load shapes as this is similar and consistent amongst the IOUs.    
Introduction and Background
· This activity originated form the ICA working group (WG) scoping document with the objective that the WG will revisit the means the IOUs develop load shapes, first fully understanding the differences and tradeoffs between those methods used in Demo A, then discussing proposed improvements. 
· The WG discussed these methodologies in detail and agreed upon their use in Demo A, but further explored reasons for divergence in methodology, as well as trade-offs between methods, as part of long-term refinement.
Discussion
· [bookmark: _GoBack]All IOU’s gather data and create Load shapes from the following profiles:
· Customer Load Profiles 
· Developed from AMI Data
· Aggregated at the service transformer
· Service Transformer Load Profiles
· Aggregation of customer profiles
· Circuit Load Profiles	
· Developed from SCADA data
· Substation Load Profiles	
· Developed from SCADA data

Conclusion and Next Steps
· The means the IOUs use to develop load shapes are similar and consistent amongst the IOUs.  
