# Item 2: Develop standard PV generation profile

Joint IOUs’ Parameter Comparison

ICA Working Group

# IOU Comparison Chart

Comparison for inputs used in parameters of NREL PVWATTS tool.

| System Info | PG&E | SDG&E | SCE | Notes |
| --- | --- | --- | --- | --- |
| DC System Size | 1 (normalized) | 1(normalized) | 5.2 | Application Information (Average) |
| Module Type | Standard | Standard | standard | Default |
| Array Type | Fixed | Fixed | fixed (roof mount) | Application Information (Average) |
| System Losses | 14% | 14% | 14% | Default |
| Tilt | 20 (res.) 15 (com/ind) | 18 | 18 | Application Information (Average) |
| Azimuth | 180 | 180 | 180 | Application Information (Average) |
| DC to AC Ratio | 1.03 | 1.15 | 1.15 | Application Information (Average) |
| PV Inverter Efficiency | 96% | 96% | 96.5% | Application Information (Average) |
| Ground Cover Ratio | 0.4 | 0.4 | 0.4 | Default |